## Tabelle1
Address | Address int | Description | Unit
0x64 | 100 | Total DC power | W
0x6A | 106 | Home own consumption from battery | W
0x6C | 108 | Home own consumption from grid | W
0x6E | 110 | Total home consumption Battery | Wh
0x70 | 112 | Total home consumption Grid | Wh
0x72 | 114 | Total home consumption PV | Wh
0x74 | 116 | Home own consumption from PV | W
0x76 | 118 | Total home consumption | Wh
0x9C | 156 | Active power Phase 1 | W
0xA2 | 162 | Active power Phase 2 | W
0xA8 | 168 | Active power Phase 3 | W
0xAC | 172 | Total AC active power | W
0xC8 | 200 | Actual battery charge (-) / discharge (+) current | A
0xD2 | 210 | Act. state of charge | %
0xD8 | 216 | Battery voltage | V
0xE0 | 224 | Active power phase 1 (powermeter) | W
0xEA | 234 | Active power phase 2 (powermeter) | W
0xF4 | 244 | Active power phase 3 (powermeter) | W
0xFC | 252 | Total active power (powermeter) | W
0x104 | 260 | Power DC1 | W
0x10A | 266 | Voltage DC1 | V
0x10E | 270 | Power DC2 | W
0x114 | 276 | Voltage DC2 | V
0x118 | 280 | Power DC3 | W
0x11E | 286 | Voltage DC3 | V
0x140 | 320 | Total yield | Wh
0x142 | 322 | Daily yield | Wh
0x144 | 324 | Yearly yield | Wh
0x146 | 326 | Monthly yield | Wh
0x202 | 514 | Battery actual SOC | %
0x416 | 1046 | Total DC charge energy (DC-side to battery) | Wh
0x418 | 1048 | Total DC discharge energy (DC-side from battery) | Wh
0x41A | 1050 | Total AC charge energy (AC-side to battery) | Wh
0x41C | 1052 | Total AC discharge energy (battery to grid) | Wh
0x41E | 1054 | Total AC charge energy (grid to battery) | Wh
0x420 | 1056 | Total DC PV energy (sum of all PV inputs) | Wh
0x422 | 1058 | Total DC energy from PV1 | Wh
0x424 | 1060 | Total DC energy from PV2 | Wh
0x426 | 1062 | Total DC energy from PV3 | Wh
0x428 | 1064 | Total energy AC-side to grid | Wh
0x42A | 1066 | Total DC power (sum of all PV inputs) | W
0x400 | 1024 | Battery charge power (AC) setpoint | W
0x412 | 1042 | Minimum SOC | %
0x414 | 1044 | Maximum SOC | %